## Worksheet
serp_main_equipment_id | serp_system_id | serp_main_equipment_name | PT | OC | PQ | SF | RT | RC | PE | SCR | OCR | ACR | AFPF | MPI | serp_pic_id | serp_main_equipment_keterangan | created_at | updated_at
MT95ARA00GV001 | 215 | LIGHTING ARRESSTER | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BBA00GS100 | 215 | VCB INCOMER MV SWTCHGEAR A (CNG A) 1250A SWITCHGEAR A (CNG A) 1250 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BBB00GS100 | 215 | VCB INCOMER MV SWTCHGEAR B (CNG B) 1250A SWITCHGEAR B (CNG B) 1250 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BJA00GS001 | 215 | LV BUS COUPLER 2000A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BJA00GS101 | 215 | INCOMER LV AUXILIARY-COMMON 2000 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BJA11GS101 | 215 | INCOMER LV SWTICHGEAR-1 5000 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BJA21GS101 | 215 | INCOMER LV SWITCHGEAR-2 5000 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BJA31GS101 | 215 | INCOMER LV SWITCHGEAR-3 5000 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BJA41GS101 | 215 | INCOMER LV SWITCHGEAR-4 5000 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BJA51GS101 | 215 | INCOMER LV SWITCHGEAR-5 5000 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95BRA10HA001 | 215 | UPS CNG UNIT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95CGA01GK001 | 215 | CCTV CNG AREA | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95CHE10EX001 | 215 | ESD UNIT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95CJA10EU001 | 215 | CABINET MEASUREMENT UNIT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95CJA10EU002 | 215 | CABINET CONTROL BINARY UNIT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95CKN10EM001 | 215 | DCS EWS UNIT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95CYE10GH001 | 215 | FACP CCR CNG | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKA10AA002 | 215 | SHUTDOWN VALVE PLANT INLET PGN | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKA10AA011 | 215 | FLOW CONTROL VALVE PLANT INLET PGN | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKA20AA002 | 215 | SHUTDOWN VALVE PLANT INLET PEP | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKA20AA011 | 215 | FLOW CONTROL VALVE PLANT INLET PEP | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKA20AA013 | 215 | MOV BYPASS INLET GAS SUPPLY | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKB00AA001 | 215 | GAS DRYER UNIT INLET HEADER 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKB00AA002 | 215 | GAS DRYER UNIT INLET HEADER 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKB00AA003 | 215 | GAS DRYER UNIT INLET HEADER 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKB10AT002 | 215 | GAS DRYER UNIT 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKB20AT002 | 215 | GAS DRYER UNIT 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKB30AT002 | 215 | GAS DRYER UNIT 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKB40AT002 | 215 | GAS DRYER UNIT 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKC01AP001 | 215 | FEED WATER PUMP | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKC01AT001 | 215 | HYDRAULIC SEPARATOR | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD00AA001 | 215 | PRU OUTLET HEADER 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD00AA002 | 215 | PRU OUTLET HEADER 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD00AA003 | 215 | PRU OUTLET HEADER 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD01AA001 | 215 | FLOW CONTROL VALVE MIXING 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD01AA002 | 215 | FLOW CONTROL VALVE MIXING 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD10CF001 | 215 | ULTRASONIC FLOWMETER 1 CNG | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD10CQ001 | 215 | GAS CHROMATOGRAPH CNG | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD10GD001 | 215 | METERING PANEL CNG | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD11AA001 | 215 | PRESSURE REDUCING UNIT 1A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD12AA001 | 215 | PRESSURE REDUCING UNIT 1B | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD20CF001 | 215 | ULTRASONIC FLOWMETER 2 CNG | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD21AA001 | 215 | PRESSURE REDUCING UNIT 2A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD22AA001 | 215 | PRESSURE REDUCING UNIT 2B | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD31AA001 | 215 | PRESSURE REDUCING UNIT 3A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD32AA001 | 215 | PRESSURE REDUCING UNIT 3B | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD41AA001 | 215 | PRESSURE REDUCING UNIT 4A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKD42AA001 | 215 | PRESSURE REDUCING UNIT 4B | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKE30AT001 | 215 | GAS PRE TREATMENT 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKE40AT001 | 215 | GAS PRE TREATMENT 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF10AA002 | 215 | SHUTDOWN VALVE OUTLET MODUL SKID 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF10BB001 | 215 | MODUL SKID 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF11AA002 | 215 | SHUTDOWN VALVE INLET MODUL SKID 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF20AA002 | 215 | SHUTDOWN VALVE OUTLET MODUL SKID 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF20BB001 | 215 | MODUL SKID 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF21AA002 | 215 | SHUTDOWN VALVE INLET MODUL SKID 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF30AA002 | 215 | SHUTDOWN VALVE OUTLET MODUL SKID 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF30BB001 | 215 | MODUL SKID 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF31AA002 | 215 | SHUTDOWN VALVE INLET MODUL SKID 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF40AA002 | 215 | SHUTDOWN VALVE OUTLET MODUL SKID 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF40BB001 | 215 | MODUL SKID 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKF41AA002 | 215 | SHUTDOWN VALVE INLET MODUL SKID 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH00AA001 | 215 | COMPRESSOR CNG INLET HEADER 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH00AA002 | 215 | COMPRESSOR CNG INLET HEADER 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH00AA003 | 215 | COMPRESSOR CNG INLET HEADER 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH00AA004 | 215 | COMPRESSOR CNG OUTLET HEADER 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH00AA005 | 215 | COMPRESSOR CNG OUTLET HEADER 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH00AA006 | 215 | COMPRESSOR CNG OUTLET HEADER 3 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH01AN001 | 215 | COMPRESSOR CNG 01 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH02AN001 | 215 | COMPRESSOR CNG 02 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH03AN001 | 215 | COMPRESSOR CNG 03 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH04AN001 | 215 | COMPRESSOR CNG 04 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH05AN001 | 215 | COMPRESSOR CNG 05 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH06AN001 | 215 | COMPRESSOR CNG 06 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH07AN001 | 215 | COMPRESSOR CNG 07 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH08AN001 | 215 | COMPRESSOR CNG 08 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH09AN001 | 215 | COMPRESSOR CNG 09 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH10AN001 | 215 | COMPRESSOR CNG 10 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH11AN001 | 215 | COMPRESSOR CNG 11 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH12AN001 | 215 | COMPRESSOR CNG 12 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH13AN001 | 215 | COMPRESSOR CNG 13 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH14AN001 | 215 | COMPRESSOR CNG 14 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH15AN001 | 215 | COMPRESSOR CNG 15 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH16AN001 | 215 | COMPRESSOR CNG 16 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH17AN001 | 215 | COMPRESSOR CNG 17 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH18AN001 | 215 | COMPRESSOR CNG 18 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH30GZ100 | 215 | CAPASITOR BANK SWITCHGEAR 1 -1 800 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH30GZ200 | 215 | CAPASITOR BANK SWITCHGEAR 2 -1 800 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH30GZ300 | 215 | CAPASITOR BANK SWITCHGEAR 3 -1 800 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH30GZ400 | 215 | CAPASITOR BANK SWITCHGEAR 4 -1 800 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95EKH30GZ500 | 215 | CAPASITOR BANK SWITCHGEAR 5 -1 800 A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95MBV10AP001 | 215 | LUBE OIL PUMP 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95MBV10AP002 | 215 | LUBE OIL PUMP 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95MBV10AT001 | 215 | FILTER LUBE OIL 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95MBV10AT002 | 215 | FILTER LUBE OIL 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95MBV10BB001 | 215 | LUBE OIL TANK | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95QFA10AN001 | 215 | AIR DRYER 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95QFA10AN002 | 215 | AIR DRYER 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95QFA10BB001 | 215 | AIR INSTRUMENT TANK | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95UCA10SD001 | 215 | FACP SWITCHGEAR 6KV CNG - LOCAL | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95UNA10BQ001 | 215 | CNG STRUCTURE UNIT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13
MT95UZT10BF001 | 215 | OUTDOOR AREA (LAND) CNG UNIT | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 11 | ME Ellipse | 2021-07-26 11:13 | 2021-07-26 11:13