## listrik5-serp_main_equipment
serp_main_equipment_id | serp_system_id | serp_main_equipment_name | PT | OC | PQ | SF | RT | RC | PE | SCR | OCR | ACR | AFPF | MPI | serp_pic_id | serp_main_equipment_keterangan | created_at | updated_at
MT51HAD10AA206 | 78 | HRSG51 MOV LP INTERMITTENT BLOWDOWN | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51HAD50AA204 | 78 | HRSG51 MOV HP INTERMITTENT BLOWDOWN | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKF10AC001 | 92 | GT51 CLOSED COOLING WATER COOLER 1 | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKF20AC001 | 92 | GT51 CLOSED COOLING WATER COOLER 2 | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKF30AC001 | 92 | GT51 CLOSED COOLING WATER COOLER 3 | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKF10AP001 | 92 | GT51 CLOSED COOLING WATER PUMP 1 | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKF10AP003 | 92 | GT51 CLOSED COOLING WATER PUMP 2 | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BBT20GT100 | 74 | GT51 INCOMING BREAKER MV SWITCHGEAR 59BBA | 8 | 2 | 3 | 6 | 2 | 2 | 4 | 4.42 | 8 | 35.39 | 2 | 70.78 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBR10AA023 | 89 | GT51 MOV OUTLET SEAL AIR FAN (OPEN CYCLE) | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBR10AA024 | 89 | GT51 MOV OUTLET SEAL AIR FAN (COMBINED CYCLE) | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBR10AN011 | 89 | GT51 COOLER FAN OIL DIVERTER DAMPER | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBR10AN100 | 89 | GT51 SEAL AIR FAN DIVERTER DAMPER 1 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBR10AN101 | 89 | GT51 SEAL AIR FAN DIVERTER DAMPER 2 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LAB19AA003 | 76 | HRSG51 MOV SOV LP DRUM FILLING | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LAB19AA004 | 76 | HRSG51 MOV SOV BYPASS LP DRUM FILLING | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LAB96AA003 | 76 | HRSG51 MOV SOV HP DRUM FILLING | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LAB96AA004 | 76 | HRSG51 MOV SOV BYPASS HP DRUM FILLING | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BAT10GT0001 | 73 | GT51 GENERATOR MAIN TRANSFORMER UNIT | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BBT10GT001 | 73 | GT51 UNIT AUX TRANSFORMER | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BBT20GT001 | 73 | GT51 STATION SERVICE TRANSFORMER | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BJA02GS100 | 73 | GT51 FEEDER TO MCC 400V 51BJA (COUPLER MCC 59BMA TO MCC 51BJA) | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BTA10GR001 | 73 | GT51 BATTERY BANK 1 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BTB10GR001 | 73 | GT51 BATTERY BANK 2 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BRA10GH001 | 73 | GT51 230VAC DISTRIBUTION 51BRA10 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BRB10GH001 | 73 | GT51 230VAC DISTRIBUTION 59BRB10 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BRU10GH001 | 73 | GT51 INVERTER/UPS 1 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BRU20GH001 | 73 | GT51 INVERTER/UPS 2 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BUA10GH001 | 73 | GT51 220VDC DISTRIBUTION 51BUA10 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BUB10GH001 | 73 | GT51 220VDC DISTRIBUTION 51BUB10 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BUC10GH001 | 73 | GT51 220VDC DISTRIBUTION 51BUC10 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BUC11GH001 | 73 | GT51 220VDC DISTRIBUTION 51BUC11 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BBT10GT300 | 73 | GT51 INCOMING BREAKER MCC 400V 51BJA | 10 | 2 | 3 | 6 | 2 | 2 | 2 | 4.8 | 8 | 38.37 | 2 | 76.73 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BAA01GA001 | 73 | GT51 ISOLATED PHASE BUSDUCT UNIT | 2 | 5 | 3 | 2 | 2 | 2 | 2 | 2.78 | 6 | 16.66 | 2 | 33.33 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BAC20GS001 | 73 | GT51 GENERATOR CIRCUIT BREAKER UNIT | 2 | 5 | 3 | 2 | 2 | 2 | 2 | 2.78 | 6 | 16.66 | 2 | 33.33 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BTL10GR001 | 73 | GT51 RECTIFIER/BATTERY CHARGER 1 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BTM10GR001 | 73 | GT51 RECTIFIER/BATTERY CHARGER 2 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51EKT10AA002 | 80 | HRSG51 MOV FUEL GAS PHT WATER | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51BPA10GH001 | 75 | GT51 STATIC STARTING DEVICE | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51CHA10GH001 | 75 | GT51 GENERATOR PROTECTION UNIT | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51CBP10GH001 | 75 | GT51 SYNCHRONIZING AND METERING UNIT | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKD10HD020 | 75 | GT51 GENERATOR BEARING | 10 | 2 | 3 | 6 | 2 | 2 | 2 | 4.8 | 8 | 38.37 | 2 | 76.73 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKA10HA300 | 75 | GT51 GENERATOR STATOR | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKA13AC400 | 75 | GT51 GENERATOR COOLER | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKA13AH010 | 75 | GT51 GENERATOR STANDSTILL HEATER | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKC50GH001 | 75 | GT51 EXCITATION TRANSFORMER PROTECTION UNIT | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKA10HB001 | 75 | GT51 GENERATOR ROTOR | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MKC50GT001 | 75 | GT51 EXCITATION TRANSFORMER | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51SMA00AE001 | 93 | GT51 OVERHEAD CRANE GT | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51HAH50AA204 | 79 | HRSG51 MOV HP SUPERHEATER 1-2 DRAIN ISV | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51HAH50AA202 | 79 | HRSG51 MOV HP SUPERHEATER 3 DRAIN ISV | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30HA531 | 83 | GT51 STATOR HEAT SHIELD ROW 1 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30HA533 | 83 | GT51 STATOR HEAT SHIELD ROW 3 | 6 | 2 | 4 | 2 | 2 | 4 | 2 | 3.46 | 4 | 13.86 | 2 | 27.71 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30HA534 | 83 | GT51 STATOR HEAT SHIELD ROW 4 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30HB531 | 83 | GT51 ROTOR HEAT SHIELD ROW 1 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30HB532 | 83 | GT51 ROTOR HEAT SHIELD ROW 2 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30HB533 | 83 | GT51 ROTOR HEAT SHIELD ROW 3 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30HB534 | 83 | GT51 ROTOR HEAT SHIELD ROW 4 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LBA10AA012 | 79 | HRSG51 MOV SOV LP LIVE STEAM | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LBA10AA202 | 79 | HRSG51 MOV LP SUPERHEATER DRAIN ISV | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LBA10AA212 | 79 | HRSG51 MOV LP STEAM START-UP VENT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LBA10AA214 | 79 | HRSG51 MOV LP STEAM DRAIN ISV | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LBA52AA002 | 79 | HRSG51 MOV SOV HP LIVE STEAM | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LBA52AA202 | 79 | HRSG51 MOV HP STEAM DRAIN ISV | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LCQ21AA012 | 78 | HRSG51 MOV LP CONTINOUS BLOWDOWN | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51LCQ61AA012 | 78 | HRSG51 MOV HP CONTINOUS BLOWDOWN | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT51MBA30AA004 | 82 | GT51 MOV- SUMPUMP FUEL TANK | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MBD10HD020 | 95 | ST58 GENERATOR BEARING | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 8 | 318.17 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAH20AT001 | 104 | MOV SCREEN/KATCHER BALL TAPPROGE B | 8 | 2 | 2 | 6 | 2 | 4 | 2 | 4.34 | 8 | 34.74 | 8 | 277.92 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58CUA10CE002 | 95 | ST58 AUTOMATIC VOLTAGE REGULATOR | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 8 | 32 | 2 | 64 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MKA10HA300 | 95 | ST58 GENERATOR STATOR | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 4 | 64 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MKB10GU000 | 95 | ST58 ROTATING DIODE | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 6 | 29.83 | 2 | 59.66 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAB10AA001 | 104 | ST58 MOV INLET CONDENSOR A | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 6 | 29.83 | 2 | 59.66 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAB20AA002 | 104 | ST58 MOV INLET CONDENSOR B | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 6 | 29.83 | 2 | 59.66 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAB30AA003 | 104 | ST58 MOV OUTLET CONDENSOR A | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 6 | 29.83 | 2 | 59.66 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BAA50GA001 | 95 | ST58 IPB GENERATOR SIDE | 8 | 4 | 4 | 4 | 2 | 4 | 2 | 4.41 | 6 | 26.45 | 2 | 52.89 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BAA60GA001 | 95 | IPB TRANSFORMATOR SIDE | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 6 | 24 | 2 | 48 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LAA10AA201 | 98 | ST58 MOV SOV FWT EVACUATION | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 6 | 24 | 2 | 48 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LAA10AA202 | 98 | ST58 MOV SOV FWT EVACUATION | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 6 | 24 | 2 | 48 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LAB22AA002 | 98 | ST58 MOV SOV DISCHARGE LP FWP 2 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 6 | 24 | 2 | 48 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAJ09AA001 | 105 | ST58 MOV SOV SERVICE EJECTOR STEAM | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 6 | 24 | 2 | 48 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAJ20AA001 | 105 | ST58 MOV SOV SERVICE EJECTOR A STEAM | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 6 | 24 | 2 | 48 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BAA01GA001 | 94 | ST58 ISOLATED PHASE BUSDUCT UNIT | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LBS10AA002 | 98 | ST58 MOV SOV PEGGING ST LP | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LCA12AA002 | 99 | ST58 MOV DISCHARGE CONDSATE PUMP 2 | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAJ62AA001 | 105 | ST58 MOV CONDENSOR EVACUATION PUMP 2 | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAK80AE011 | 106 | ST58 MOTOR TURNING GEAR | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL10AA011 | 100 | ST58 MOV DRAIN VALVE HMT CASING | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL30AA011 | 100 | ST58 MOV DRAIN VALVE LMT OUT CASING | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL40AA011 | 100 | ST58 MOV DRAIN VALVE DNSTR MSV | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL40AA021 | 100 | ST58 MOV DRAIN VALVE DNSTR MSV | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL70AA001 | 100 | ST58 MOV DRAIN VALVE LPS-CV | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL71AA001 | 100 | ST58 MOV DRAIN VALVE LPS-CV | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL90AA001 | 100 | ST58 MOV DRAIN GLS DS HMT WI | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAN10AA001 | 102 | ST58 MOV SOV LP BYPASS | 8 | 2 | 4 | 4 | 2 | 4 | 2 | 4.21 | 4 | 16.84 | 2 | 33.67 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAW01AA001 | 108 | ST58 MOV SOV GLAND STEAM SEG | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAV02BB001 | 107 | ST58 LUBE OIL TANK | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BAC20GS001 | 94 | ST58 GENERATOR CIRCUIT BREAKER UNIT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BAT10GH001 | 96 | ST58 GSU TRANSFORMER PROTECTION UNIT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BAT10GT001 | 96 | ST58 GENERATOR MAIN TRANSFORMER UNIT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BBT10GH001 | 96 | ST58 SST PROTECTION UNIT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BBT20GT001 | 96 | ST58 STATION SERVICE TRANSFORMER | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BBT20GT200 | 97 | ST58 INCOMING BREAKER MCC MV SWITCHGEAR 59BBB | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BFT10GT001 | 96 | ST58 AUXILIARY TRANSFORMER 58BFT10 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58BFT10GT200 | 97 | ST58 INCOMING BREAKER MCC LV SWITCHGEAR 58BFA | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58CBP10GH001 | 95 | ST58 SYNCHRONIZING AND METERING UNIT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58CHA10GH001 | 95 | ST58 GENERATOR PROTECTION UNIT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LAB12AA002 | 98 | ST58 MOV SOV DISCHARGE LP FWP 1 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LAB45AA001 | 98 | ST58 MOV SOV FWT PHT | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LAB52AA002 | 98 | ST58 MOV SOV DISCHARGE HP FWP 1 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LAB62AA002 | 98 | ST58 MOV SOV DISCHARGE HP FWP 2 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAC10AA021 | 102 | ST58 MOV VACUM BREAKER | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAJ11AA001 | 105 | ST58 MOV SOV SERVICE EJECTOR AIR | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAJ15AA010 | 106 | ST58 MOV SOV START UP EJECTOR AIR | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAJ30AA001 | 105 | ST58 MOV SOV SERVICE EJECTOR B STEAM | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAN50AA001 | 102 | ST58 MOV SOV HP BYPASS | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAW15AA051 | 108 | ST58 MOV SOV GLAND STEAM SEG WINJ | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MKA10GS100 | 95 | ST58 GENERATOR CIRCUIT BREAKER | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MKA10HB001 | 95 | ST58 GENERATOR ROTOR | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MKA13AH010 | 95 | ST58 GENERATOR STANDSTILL HEATER | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MKA13AC100 | 95 | ST58 GENERATOR COOLER 2 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAB40AA004 | 104 | ST58 MOV OUTLET CONDENSOR B | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAH10AT001 | 104 | ST58 MOV SCREEN/KATCHER BALL TAPPROGE A | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAH20AT0011 | 104 | ST58 MOV SCREEN/KATCHER BALL TAPPROGE B | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAH30AT001 | 104 | ST58 MOV BALL COLLECTOR TAPROGE A | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PAH31AT001 | 104 | ST58 MOV BALL COLLECTOR TAPROGE B | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PUG20AA001 | 104 | ST58 MOV DEBRIS FILTER CONDENSOR B | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58SMA00AE001 | 110 | ST58 OVERHEAD CRANE ST | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58LCA11AA002 | 99 | ST58 MOV DISCHARGE CONDSATE PUMP 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAJ61AA001 | 105 | ST58 MOV CONDENSOR EVACUATION PUMP 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58MAL10AA001 | 100 | ST58 MOV DRAIN VALVE HMT CASING | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT58PUG10AA001 | 104 | ST58 MOV DEBRIS FILTER CONDENSOR A | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PBN05CF001 | 132 | SHUT-OFF VALVE HYPOCHLORITE GENERATOR CELL A DISCHARGE | 8 | 2 | 2 | 6 | 2 | 4 | 2 | 4.34 | 8 | 34.74 | 8 | 277.92 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFA00GS100 | 121 | BREAKER BUSTIE MCC LV SWTCHGEAR 58BFA-59BFA | 8 | 4 | 3 | 6 | 4 | 2 | 6 | 5.08 | 8 | 40.68 | 6 | 244.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFT10GT200 | 122 | INCOMING BREAKER MCC LV SWITCHGEAR 59BFA | 8 | 4 | 3 | 6 | 4 | 2 | 6 | 5.08 | 8 | 40.68 | 6 | 244.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BTB10GR001 | 121 | BATTERY BANK 2 | 8 | 2 | 2 | 2 | 2 | 4 | 2 | 3.78 | 10 | 37.8 | 6 | 226.78 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PBN60GU001 | 132 | HYPOCHLORITE GENERATOR CELL A | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 6 | 18.14 | 10 | 181.42 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59SMA00AE001 | 136 | OVERHEAD CRANE BOP | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 6 | 18.14 | 10 | 181.42 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59xxxxxxxxxxxxx | 122 | CATHODIC PROTECTION | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2.39 | 6 | 14.34 | 10 | 143.43 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR10GP003 | 124 | DC LIGHTING PANEL -GT&ST BUILDING | 8 | 2 | 2 | 2 | 2 | 2 | 2 | 3.55 | 4 | 14.18 | 8 | 113.46 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59GCF00GS100 | 129 | INCOMING BREAKER MCC 400V DEMINERALIZED PLANT | 10 | 2 | 4 | 2 | 2 | 4 | 2 | 4.6 | 4 | 18.39 | 6 | 110.36 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PAA00GS100 | 126 | INCOMING BREAKER MCC 400V COOLING WATER SCREEN | 10 | 2 | 4 | 2 | 2 | 4 | 2 | 4.6 | 4 | 18.39 | 6 | 110.36 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PBN00GS100 | 132 | INCOMING BREAKER MCC 400V CHLORINATION PLANT | 10 | 2 | 4 | 2 | 2 | 4 | 2 | 4.6 | 4 | 18.39 | 6 | 110.36 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BMA00GS102 | 121 | BREAKER ESSENTIAL FEEDER 59BFA-59BMA | 4 | 2 | 2 | 2 | 2 | 4 | 2 | 2.73 | 4 | 10.9 | 10 | 109.02 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BTL10GR001 | 121 | RECTIFIER/BATTERY CHARGER 1 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BTM10GR001 | 121 | RECTIFIER/BATTERY CHARGER 2 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 6 | 96 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59GAP02AP001 | 129 | ACID DOSING PUMP 2 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2.39 | 4 | 9.56 | 10 | 95.62 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59GDK22AP001 | 130 | SWRO FEED WATER PUMP 2 | 4 | 2 | 2 | 2 | 2 | 2 | 2 | 2.39 | 4 | 9.56 | 10 | 95.62 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BBB00GS100 | 121 | BREAKER BUSTIE MV SWITCHGEAR 59BBA-59BBB | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFD00GS100 | 122 | INCOMING BREAKER SMALL POWER DISTRIBUTION BOARD | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFE00GS100 | 122 | TIE BREAKER | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFT10GT001 | 123 | AUXILIARY TRANSFORMER 59BFT10 | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFT20GT001 | 122 | AUXILIARY TRANSFORMER 59BFT20 | 10 | 4 | 3 | 6 | 4 | 2 | 6 | 5.57 | 8 | 44.54 | 2 | 89.08 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFT20GT200 | 122 | INCOMING BREAKER PDC 400V BOP SWITCHGEAR A | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFT40GT001 | 122 | AUXILIARY TRANSFORMER 59BFT40 | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BFT40GT200 | 122 | INCOMING BREAKER PDC LV SWITCHGEAR 59BFE | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR10GP005 | 124 | DISTRIBUTION PANEL LIGHTING GT&ST BUILDING | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR10GW002 | 124 | DISTRIBUION PANEL VAC GT&ST BUILDING | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR11GP005 | 124 | DISTRIBUTION PANEL LIGHTING CHLORINATION PLANT | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR11GW001 | 124 | HVAC CHLORINATION PLANT | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR12GP003 | 124 | DISTRIBUTION PANEL VAC&LIGHTING AIR INSTRUMENT & SERVICE COMPRESOR | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR12GP002 | 124 | CONTROL PANEL VAC &LIGHTING AIR SERVICE COMPRESOR BOP | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR13GP003 | 124 | DISTRIBUTION PANEL LIGHTING FEED WATER PUMP | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR21GP005 | 124 | DISTRIBUTION PANEL LIGHTING WATER INTAKE | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR21GW001 | 124 | HVAC WATER INTAKE | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR31GP004 | 124 | DISTRIBUTION PANEL LIGHTING DESALINATION PLANT (BOP&LABORATORIUM) | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR31GP005 | 124 | DISTRIBUTION PANEL LIGHTING DEMINERALIZED PLANT | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR31GW001 | 124 | CONTROL PANEL HVAC MCC BOP &LABORATORIUM | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR41GP003 | 124 | DISTRIBUTION PANEL LIGHTING WWTP | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR50GP003 | 124 | DISTRIBUTION PANEL LIGHTING WORKSHOP &WAREHOUSE | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR50GW001 | 124 | CONTROL PANEL VAC & LIGHTING WORKSHOP | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR50GW002 | 124 | CONTROL PANEL HVAC & LIGHTINGWORKSHOP (OFFICE) | 10 | 2 | 3 | 6 | 2 | 2 | 4 | 4.97 | 8 | 39.77 | 2 | 79.54 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR71GP001 | 124 | CONTROL PANEL LIGHTING ROAD | 8 | 2 | 4 | 2 | 2 | 2 | 2 | 3.78 | 10 | 37.8 | 2 | 75.59 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR80GP002 | 124 | ESSENTIAL LIGHTING/VAC DISTRIBUTION PANEL -CCR | 8 | 2 | 4 | 2 | 2 | 2 | 2 | 3.78 | 10 | 37.8 | 2 | 75.59 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR80GP003 | 124 | DC LIGHTING PANEL -CCR | 8 | 2 | 4 | 2 | 2 | 2 | 2 | 3.78 | 10 | 37.8 | 2 | 75.59 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR80GP005 | 124 | DISTRIBUTION PANEL LIGHTING CCR | 8 | 2 | 4 | 2 | 2 | 2 | 2 | 3.78 | 10 | 37.8 | 2 | 75.59 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BTA10GR001 | 121 | BATTERY BANK 1 | 8 | 2 | 4 | 2 | 2 | 2 | 2 | 3.78 | 10 | 37.8 | 2 | 75.59 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BBA00GS100 | 121 | BREAKER BUSTIE MV SWITCHGEAR 59BBA-59BBB | 2 | 5 | 3 | 2 | 2 | 2 | 2 | 2.78 | 6 | 16.66 | 2 | 33.33 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BBA02GT001 | 121 | CONTROL PANEL BUSBAR PT | 2 | 5 | 3 | 2 | 2 | 2 | 2 | 2.78 | 6 | 16.66 | 2 | 33.33 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BUA10GH001 | 121 | 220VDC DISTRIBUTION 59BUA10 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BUB10GH001 | 121 | 220VDC DISTRIBUTION 59BUB10 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BUC10GH001 | 121 | 220VDC DISTRIBUTION 59BUC10 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BUD10GH001 | 121 | 110VDC DISTRIBUTION 59BUD10 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BUG10GH001 | 121 | 24VDC DISTRIBUTION 59BUG10 | 8 | 2 | 4 | 2 | 2 | 4 | 2 | 4 | 4 | 16 | 2 | 32 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PAB10AA001 | 126 | MOV DISCHARGE MCWP A | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PAB20AA001 | 126 | MOV DISCHARGE MCWP B | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PBN30GT001 | 132 | TRANSFORMATOR/ RECTIFIER UNIT A | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PBN40GT001 | 132 | TRANSFORMATOR/ RECTIFIER UNIT B | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59PDD30AA001 | 130 | MOV SEA WATER FEED PUMP | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59QUL01AH001 | 133 | CHILLER NO 1 | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59QUL01AH002 | 133 | CHILLER NO 2 | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59QCJ00GS001 | 122 | BREAKER TO CHLORINATION PLANT MCC | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59QEA00GS001 | 122 | BREAKER AIR INSTRUMENT & SERVICE COMPRESOR BOP | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59SGA00GS001 | 122 | BREAKER FIRE ELECTRICAL PUMP 3ONTROLLER | 4 | 2 | 4 | 2 | 2 | 4 | 2 | 3.02 | 4 | 12.09 | 2 | 24.19 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR60GP003 | 124 | CONTROL PANEL DISRIBUTION LIGHTING FIRE PUMP HOUSE | 2 | 2 | 2 | 4 | 2 | 4 | 2 | 2.73 | 2 | 5.45 | 2 | 10.9 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR60GW001 | 124 | VAC FIRE PUMP HOUSE | 2 | 2 | 2 | 4 | 2 | 4 | 2 | 2.73 | 2 | 5.45 | 2 | 10.9 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR61GP001 | 124 | CONTROL PANEL HVAC & LIGHTING WORKSHOP KONIN | 2 | 2 | 2 | 4 | 2 | 4 | 2 | 2.73 | 2 | 5.45 | 2 | 10.9 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR51GP001 | 124 | CONTROL PANEL LIGHTING HRSG | 2 | 2 | 2 | 4 | 2 | 2 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR61GP003 | 124 | CONTROL PANEL HVAC CEMS | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR61GP004 | 124 | CONTROL PANEL HVAC WATER SAMPLING | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR80GW003 | 124 | DISTRIBUTION PANEL HVAC CCR | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR81GP003 | 124 | DISTRIBUTION PANEL LIGHTING EDG | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BHR81GW001 | 124 | CONTROL PANEL VAC EDG | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BMA00GS101 | 121 | BREAKER ESSENTIAL FEEDER 58BFA-59BMA | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRA10GH001 | 121 | 230VAC DISTRIBUTION 51BRA10 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRB10GH001 | 121 | 230VAC DISTRIBUTION 59BRB10 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRD10GH001 | 121 | 24VDC DISTRIBUTION 59BRD10 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRD20GH001 | 121 | 24VDC DISTRIBUTION 59BRD20 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRU10GH001 | 121 | INVERTER/UPS 1 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRU20GH001 | 121 | INVERTER/UPS 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRV00GR100 | 125 | EMERGENCY DIESEL GENERATOR | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59BRV10GS200 | 121 | INCOMING BREAKER MCC LV SWITCHGEAR59BMA FROM EDG | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 2.39 | 2 | 4.78 | 2 | 9.56 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59GAP07AP001 | 129 | WATER SUMP PIT PUMP 1 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59GCF00GS001 | 122 | BREAKER TO DEMINERALIZED PLANT MCC | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59GDF00GS001 | 122 | BREAKER TO DESALINATION PLANT MCC | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52
MT59GDR10GH001 | 131 | LOCAL CONTROL PANEL WWTP | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 2 | 8 | 10 | not yet defined | 2021-05-21 14:52 | 2021-05-21 14:52